{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Volymsberäkningar","Dimensionsberäkningar"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Volymsberäkningar","index":0,"n_rows":22,"n_cols":6,"rows_kept":22,"cut":false,"hidden":false,"merged":[[4,1,4,5]]}
["Fastighetsägaren ansvarar för att ta hand om dagvattnet inom kvartersmark och \nkommunen inom allmän plats"]
["De första 10 mm dagvatten som avrinner från en yta ska avledas till LOD* anläggningar."]
["Beräkningsmetod: Den reducerade arean x 10 mm = volymen dagvatten som \nska kunna fördröjas ytligt i en LOD-anläggning"]
[]
[null,"Beräkning av volym för omhändertagning av 10 mm dagvatten, fyll i storleken på respektive yta på din fastighet"]
[null,"Typ av yta","Storlek [kvm]","Avrinningskoefficient [-]","Åtgärdsnivå [mm]","Volym [kbm]"]
[null,"Naturmark/gräsyta",null,0.1,10,{"$f":"C7*D7*(E7*0.001)","v":0}]
[null,"Trall över naturmark/gräsyta",null,0.1,10,{"$f":"C8*D8*(E8*0.001)","v":0}]
[null,"Trall över asfalt-/betongyta",null,0.8,10,0]
[null,"Grusad yta",null,0.2,10,0]
[null,"Marksten med genomsläppliga fogar",null,0.7,10,0]
[null,"Marksten utan genomsläppliga fogar",null,0.8,10,0]
[null,"Asfalt-/betongyta",null,0.8,10,0]
[null,"Tak",null,0.9,10,0]
[null,"Summa",{"$f":"SUM(C7:C14)","v":0},"–","–",{"$f":"SUM(F7:F14)","v":0}]
[]
[]
[]
[]
[]
[]
["*LOD = Lokalt omhändertagande av dagvatten"]

{"sheet":"Dimensionsberäkningar","index":1,"n_rows":25,"n_cols":8,"rows_kept":25,"cut":false,"hidden":false,"merged":[]}
["Nödvändig volym för omhändertagnng av 10 mm dagvatten:"]
["V =",{"$f":"Volymsberäkningar!F15","v":0},"*"]
[]
["Om area eftersöks, fyll i önskat djup [m]: Djup ="]
["Om djup eftersöks, fyll i önskad area [kvm]: Area ="]
["Både djup och area får inte fyllas i samtidigt"]
[]
[null,"Dimensionering av en anläggnings yta och djup"]
[]
[]
[]
[null,null,null,null,null,null,"Djup =",{"$f":"IFERROR(IF(F4=\"\",SUM(B2/F5),F4),\"\")","v":""}]
[]
[]
[]
[]
[null,null,"Area =",{"$f":"IFERROR(IF(F5=\"\",(B2/F4),F5),\"\")","v":""}]
[]
[]
[]
[]
[]
[]
[]
["* Beräknas i föregående blad"]